# **A person in a wheelchair Description automatically generated Avante Hi Lo Flex**

# **Base Only**

SKU: AVHLKSAB.OC (KS)

SKU: AVHLLDAB.OD (LKS)

 SKU: AVHLLSAB.OD (LS)

**Features and Benefits:**

The Hi-Lo is a Mobility focused Adjustable bed that doesn’t look like a traditional hospital bed.

With its Hi-Lo mechanism, safety sensors, under bed lighting and optional side rails, this bed is a cost-effective solution that won’t compromise your décor.

* Hi-Lo Lift Function
* Safety Sensors
* Under Bed Lighting
* Low Point: 340mm (base only)
* High Point: 620mm (base only)
* Wired Hand Control with backlight
* Side Rails Optional
* 180kg Weight Rated
* Available in 4 different sizes

**Specifications (King Single) - $2,990**

* Depth (mm) – 190
* Length (mm) – 1980
* Width (mm) – 1050

**Specifications (Long Double) - $3,470**

* Depth (mm) – 190
* Length (mm) – 2030

Width (mm) – 1050

**Specifications (Long Single) - $2,850**

* Depth (mm) – 190
* Length (mm) – 2030

Width (mm) – 1050